## Sheet1
The County ha | s potent | ial in various | renewable en | ergy resource | s:
Hydroelectric | Power
Bungoma Coun | ty cont | ributes to th | e national en | ergy grid thr | oug | h the T | erem hydro-
power station i | nstallat | ion in Mt. El | gon that was | licensed on 2 | 7th | Febru | ary 2014 for a
20year lease. | The sta | tion contrib | utes 5.2MW | to the nati | onal | grid. | Nzoia Sugar
Company Ltd i | s anoth | er energy inst | allation in th | e County gen | era | ting 7M | W through a
cogeneration m | echanis | m that is cap | tively consum | ed in the pro | duc | tion pr | ocess.
There are seve | ral river | s that have p | otential for s | mall hydroel | ectr | ic pow | er generation
such as River K | uywa a | nd River Nzo | ia. Some of th | e challenges | inh | ibiting | hydroelectric
power installati | ons inc | lude:
 High inst | allation | costs
 Inadequat | e hydro | logical data.
 Effects of | climate | change.
 Limited lo | cal cap | acity to manu | facture small | hydropower | com | ponen | ts.
Biomass
Bioenergy refer | s the en | ergy derived | from various | sources of s | olid, | liquid, | and gaseous
biomass, includ | ing fue | l wood, charc | oal, ethanol, | biodiesel, an | d bi | ogas. M | ajority of the
households in | Bungo | ma use fire | wood for c | ooking. Curr | ent | ly, bio | mass energy
development is | the foc | us of attenti | on, ostensibly | due to dwi | ndli | ng glob | al sources of
fossil fuels and | rising o | il prices. The | ir potential t | o mitigate cli | ma | te chan | ge adds their
attractiveness. | In Keny | a, there is bio | gas potential | from munici | pal | waste a | s well as sisal
and coffee pro | duction | . The total i | nstalled elect | ric capacity | pot | ential o | f all sources
ranges from 29 | to 131 M | W, which is | about 3.2 to 1 | 6.4% of the c | oun | try’s to | tal electricity
production.
Biogas use in B | ungoma | is mostly li | mited to instit | utions that d | eal | with fa | rming due to
the availability | of ani | mal and vege | tative waste. | The high co | st o | f bioga | s installation
equipment red | uces its | potential use | by household | s in Bungom | a. B | ungom | a prison is in
the process of i | nstallin | g biogas equi | pment to mee | t its power n | eed | s. Globa | lly, about 2.5
billion people | rely on | biomass suc | h as fuelwoo | d, charcoal, | agr | icultura | l waste, and
animal dung to | meet th | eir energy ne | eds for cooki | ng.
Solar
Kenya receives | daily i | nsolation of | 4-6kWh/m2. | Solar energy | is | used p | rincipally for
photovoltaic (P | V) syst | ems, drying, | and water he | ating. In tur | n, s | olar PV | systems are
used for teleco | mmunic | ations, the ca | thodic protec | tion of pipel | ines | , lighti | ng, and water
pumping. Som | e of the | barriers affe | cting the expl | oitation of so | lar | energy | include high
initial capital | costs, l | ow awarenes | s of the pot | ential oppor | tun | ities a | nd economic
benefits offered | by sola | r technologi | es, and a lack | of adherence | to | system | standards by
suppliers.
The solar poten | tial for | Bungoma ra | nges between | 1-3.75 GHkw | h/m | 2/day, | which can be
exploited at a | small s | cale. Comme | rcial exploitat | ion potentia | l is | availab | le at greater
than 5 GHkwh/ | m2/day | .
Bungoma Coun | ty Integr | ated Developm | ent Plan 2023 – | 2027 |  |  | Page 98