## Sheet1
Proposed Programme/ Project | Proposed Project Activities | Estimated Cost (Ksh.) | Ward
Mwajet water project | Rehabilitation of existing tanks | 600,000 | Soy South
Mwajet water project | Rehabilitation of existing abandoned intakes to supplement the new intake | 500,000 | Soy South
Mwajet water project | Construction of cattle troughs and water Kiosk | 2,000,000 | Soy South
Sarbab Borehole | Drilling, equipping, Reticulation, Masonry tank | 6,500,000 | Soy South
Kalwal hill Borehole | Drilling, equipping, Reticulation, Masonry tank | 6,500,000 | Soy South
Kaben water project | Pipeline extension | 3,500,000 | Soy South
Tairop water project | Intake rehabilitation, Tank, pipeline extension | 4,600,000 | Soy South
Kabawa-Meremban-Kalwal | Masonry tank 100m3, pipeline, solar pumping unit | 6,500,000 | Soy South
Luguitany water project | Pipeline extension & distribution, rehabilitation of existing pipeline,2no. masonry tanks | 5,100,000 | Soy South
Chepsirei water project | Supply main, distribution mains | 3,500,000 | Soy South
Kipnyony water project | Intake, 100m3 masonry tank, ditribution lines | 5,500,000 | Soy South
Soy- Kimware water project | 100m3 masonry tank, pipeline distribution, cattle troughs | 5,000,000 | Soy South
Chepkoiko water project | Intake, 50m3 masonry tank, pipeline | 4,500,000 | Soy South
kapkayo water project | B/H drilling, solar, pipelaying | 6,500,000 | Soy South
Kipkanao-Kimarkach water project | intake, 100m3 masonry tank, pipeline | 5,000,000 | Soy South
Mukomet water project | Pipeline extension, | 2,500,000 | Soy South
Sesia Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Munyek Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Cheptaiwa Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Kapkio Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Smisbei water project | Intake, 100m3 tank, pipeline | 5,000,000 | Soy South
Kapkayo Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Orbarak water project | main line and distribution lines | 3,000,000 | Soy South
Kapkoro Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Turesia Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Turesia water project | Intake, 50m3 masonry tank, pipeline | 3,000,000 | Soy South
Kaptoror water project | Pipeline | 2,500,000 | Soy South
Chepeno Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Kaptega water project | Intake rehabilitation, pipeline extension, rehabilitation of existing pipeline. | 3,000,000 | Soy South
Kasar water project | Pipeline extension, cattle trough | 2,000,000 | Soy South
Kontingo water project | Intake, 50m3 masonry tank, pipeline | 3,500,000 | Soy South
Bebmoi water project | Pipeline extension, 100m3 tank | 4,500,000 | Soy South
Mwochet water project | Intake, pipeline, 100m3 tank | 4,500,000 | Soy South
Kiboige water project | Pipeline distribution, 100m3 tank, cattle trough | 4,500,000 | Soy South
Ikocho water project | Intake, 100m3 tank, pipeline | 4,500,000 | Soy South
Labot water project | Intake, 100m3 tank, pipeline | 4,500,000 | Soy South
Kapkoten Borehole | Drilling and equipping, 100m3 tank, pipeline | 6,500,000 | Soy South
Kibee water project | Intake, 100m3, pipeline | 4,500,000 | Soy South
Molol water project | Pipeline extension, tank | 3,500,000 | Soy South
Trikipto water project | Pipeline extenssion, Intake construction and tank | 5,000,000 | Soy South
Kipkokondany water project | 100m3 tank, pipeline extension | 4,500,000 | Soy South
Setano-komor water project | Intake, 100m3 tank, pipeline | 4,500,000 | Soy South
Enego water project | Pipeline extension | 2,000,000 | Soy South
Kaptum water project | Pipeline extension, 100m3 tank | 4,500,000 | Soy South
Chepsio water project | Intake, 100m3 tank, pipeline | 4,500,000 | Soy South
Kaptokochi water project | Intake, 100m3 tank, pipeline | 4,500,000 | Soy South
Kurere water project | Pipeline extension, 100m3 tank, cattle trough | 4,500,000 | Soy South
Togome water project | intake improvement, pipeline extension, cattle trough | 3,000,000 | Soy South
Kabirokwo Water Project | Pipeline, Tank construction, Fencing and Intake construction | 7,000,000 | Soy South
Kapkayo Market Water Project | Pipe laying and water tanks | 4,000,000 | Soy South
Soy south ward dryland forestry,farm forestry and school greening programs | Purchase, supply & delivery of assorted tree seedlings | 5,500,000 | Soy South
Soy south ward model tree nursery | setting up a model tree nursery | 2,000,000 | Soy South
Sugutek water catchment | Protection of sugutek water catchment | 500,000 | Soy South
Chemoti water catchment | Protection of chemoti water catchment | 500,000 | Soy South
Kewapmwen water catchment | Protection of kewapmwen water catchment | 500,000 | Soy South
Tarita water catchment | Protection of tarita water catchment | 500,000 | Soy South
Kilawa water catchment | Protection of kilawa water catchment | 500,000 | Soy South
Kapkowochi water catchment | Protection of kapkowochi water catchment | 500,000 | Soy South
Sawii water catchment | Protection of sawii water catchment | 500,000 | Soy South
Kipkebon water catchment | Protection of kipkebon water catchment | 500,000 | Soy South
Kewane water catchment | Protection of kewane water catchment | 500,000 | Soy South
Togome water catchment | Protection of togome water catchment | 500,000 | Soy South
Keburwo-atabei water catchment | Protection of keburwo-atabei water catchment | 500,000 | Soy South
Soen water catchment | Protection of soen water catchment | 500,000 | Soy South
Kaptega water catchment | Protection of kaptega water catchment | 500,000 | Soy South
Soy south conservation of escarpment programs | Survey and beaconing of environmentally fragile buffer zone (spencer Line) | 2,000,000 | Soy South
Soy south Ward sensitization forums | Community awareness creation on climate change (Mainstreaming,adaptation, mitigation & ESIA/EA) | 2,500,000 | Soy South
Lelgut water project | Construction of storage tank | 2,000,000 | Tambach
Lelgut water project | Construction of distribution main | 4,000,000 | Tambach
Lelgut water project | Completion of gravity main | 1,500,000 | Tambach
Kessup-Songeto dam water project | Construction of gravity main from Yokot dam to Songeto | 30,000 | Tambach
Upper yokot setek water project | Construction of distribution lines and Break Pressure tanks | 10,000,000 | Tambach
Upper yokot setek water project | Rehabilitation of existing pipeline | 4,000,000 | Tambach
Upper yokot setek water project | construction of intake pipeline extension | 2,000,000 | Tambach
Upper yokot setek water project | constructionof intake | 600,000 | Tambach
Upper yokot setek water project | pipeline extension | 2,000,000 | Tambach
Koibamelil dam water project | construction of dam | 8,000,000 | Tambach
Koibamelil dam water project | pipeline extension to setek V.T.C | 3,000,000 | Tambach
Orapsang water project | B/H drilling ,equipping, reticulation, storage | 6,500,000 | Tambach
Kapkibur water project | pipeline extension | 2,000,000 | Tambach
Kapkibur water project | B/H drilling | 6,500,000 | Tambach
Kiptorok/biretwo water project | pipeline extension | 2,000,000 | Tambach
kibaibu water project | pipeline extension | 2,000,000 | Tambach
kiboi water project | Borehole drilling | 6,500,000 | Tambach
songoiwo water project | Borehole drilling | 6,500,000 | Tambach
koisabul water project | Borehole drilling | 6,500,000 | Tambach
kipkoywo water project | Borehole drilling | 6,500,000 | Tambach
Kipkeiboin water project | spring protection | 600,000 | Tambach
sing'ore siroch water project | pipeline extension | 2,000,000 | Tambach
sing'ore siroch water project | construction of tank 50m3 | 1,000,000 | Tambach
Kiplekitetwo water project | pipeline extension | 2,000,000 | Tambach
Kiplekitetwo water project | construction of tank 50m3 | 1,000,000 | Tambach
chepirgerchi-kokwapsitet kaimorir water project | pipeline extension | 2,000,000 | Tambach
chepirgerchi-kokwapsitet kaimorir water project | construction of tank 50m3 | 1,000,000 | Tambach
Kipke water project | construction of intake | 600,000 | Tambach
Kipke water project | construction of 50m3 tank | 1,000,000 | Tambach
kibosho water project | repairs and maintenance | 1,000,000 | Tambach
Engut water project | repairs and maintenance | 1,000,000 | Tambach
Cheposgei water project | repairs and maintenance | 1,000,000 | Tambach
Chebati water project | Rehabilitation of Intake | 1,000,000 | Tambach
Chebati water project | Rehabilitation of gravity main | 3,000,000 | Tambach
Chebati water project | Construction of 100m3 tank | 2,000,000 | Tambach
Chebati water project | Construction of distribution line from tank | 2,000,000 | Tambach
Kabore water project | B/H drilling ,equipping, reticulation, storage | 6,500,000 | Tambach
kapsaniak upper water project | B/H drilling ,equipping, reticulation, storage | 6,500,000 | Tambach
kipka water project | B/H drilling ,equipping, reticulation, storage | 6,500,000 | Tambach
kapilil water project | B/H drilling ,equipping, reticulation, storage | 6,500,000 | Tambach
kabeei lower water project | B/H drilling ,equipping, reticulation, storage | 6,500,000 | Tambach
yatia waterproject | B/H drilling ,equipping, reticulation, storage | 6,500,000 | Tambach
kapchebar water project | B/H drilling ,equipping, reticulation, storage | 6,500,000 | Tambach
Mogon water project | construction of intake | 600,000 | Tambach
Mogon water project | pipeline extension | 2,500,000 | Tambach
Mogon water project | construction of 50M3 tank | 1,000,000 | Tambach
Embocho water project | construction of intake | 600,000 | Tambach
Embocho water project | pipeline extension | 2,500,000 | Tambach
Embocho water project | construction of 50M3 tank | 1,000,000 | Tambach
kiptiti water project | construction of intake | 600,000 | Tambach
kiptiti water project | pipeline extension | 2,500,000 | Tambach
kiptiti water project | construction of 50M3 tank | 1,000,000 | Tambach
checholio water project | construction of intake | 600,000 | Tambach
checholio water project | pipeline extension | 2,500,000 | Tambach
checholio water project | construction of 50M3 tank | 1,000,000 | Tambach
kipchesang water project | construction of intake | 600,000 | Tambach